## Sheet1
Old Detail's | [6 empty] | New Detail's
Sr# | Transformer NUMBER | Transformer Capacity | R R Number | BESCOM Meter Sr# | Meter F R (Final Reading) | BESCOM Meter link | Salzer Meter Number | Salzer Meter Reading | CCMS Panel ID | CCMS Image & Salzer METER | Cable Status | Earthing Status | Latitude | Longitude | Address | 34W | 56W | 78W | 104W | 173W | Old LED | Empty Pole | Park | Remark
1 | - |  | C6SL84 | A7242318 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/d67362ec-4846-4ade-b965-3b6ec65351e7.jpg | SALSS002006 | 8 | SSC107SM01196 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/a49631e0-630c-11f1-a4a3-f997bd8fb64d.jpg | Existing | Y | 13.0365 | 77.5698 | 522A,Amarjyothi Layout,Raj Mahal Vilas 2nd Stage,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 1 | 30 | 0 | 0 | 0 | 1 | 2 | -
2 | 57 |  | - | BD0023213 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/a5450ccd-4f4d-4a11-9f10-8c61bce6002f.jpg | SALSS001293 | 7 | SSC107SM01734 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/2f75b080-6333-11f1-a4a3-f997bd8fb64d.jpg | Existing | Y | 13.0326 | 77.5741 | 133,6th Cross Rd,CIL Layout A Block,AECS Layout,Raj Mahal Vilas 2nd Stage,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 11 | 6 | 0 | 0 | 0 | 1 | 2 | -
3 | 46 |  | C42SM46 | BD1561278 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/da577a72-e7d8-4363-bd66-4ab89ce071d0.jpg | SALSS001399 | 10 | SSC107SM01888 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/7eaa2000-632e-11f1-a4a3-f997bd8fb64d.jpg | Existing | Y | 13.0335 | 77.5727 | 16,6th Cross Rd,Naidu Layout,Raj Mahal Vilas 2nd Stage,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 13 | 12 | 0 | 0 | 0 | 3 | 3 | -
4 | 18 |  | C6SL81 | BD0720454 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/ac41033b-27bc-4e70-a31c-f673e88897ef.jpg | SALSS001591 | 26 | SSC107SM01858 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/1833a5d0-631f-11f1-a4a3-f997bd8fb64d.jpg | Existing | Y | 13.033 | 77.5699 | 120,1st Cross Rd,Jaladarsini Layout,Sanjayanagara,Bengaluru,Karnataka 560094,India | 13 | 4 | 0 | 0 | 0 | 6 | 4 | -
5 | - |  | C412SL15A | BD0552304 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/dc9e2db6-7a13-4c24-ad77-4382e5d6f3ed.jpg | SALSS001341 | 11 | SSC107SM01905 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/269e6a00-62fd-11f1-a4a3-f997bd8fb64d.jpg | Existing | Y | 13.0424 | 77.5702 | 12,1st A Cross Rd,Basaveshwara Layout,Ramakrishnappa Layout,Nagashetty Halli,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 4 | 12 | 0 | 0 | 0 | 3 | 3 | -
6 | 18 |  | C6SL87 | 2922367 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/14a0c5d1-0145-45e0-ab68-35f4b3ffa6d8.jpg | SALSS001218 | 13 | SSC107SM01985 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/02f10c40-6319-11f1-a4a3-f997bd8fb64d.jpg | Existing | Y | 13.0351 | 77.5679 | Bagaria Complex,12,New BEL Rd,3rd Block,Amarjyothi Layout,Raj Mahal Vilas 2nd Stage,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 8 | 1 | 0 | 0 | 0 | 2 | 2 | -
7 | 318 |  | - | BD0092164 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/c0d1ce6a-e392-467d-996e-ed62757f0502.jpg | SALSS002329 | 5 | SSC107SM01298 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/cd7ae320-6312-11f1-a4a3-f997bd8fb64d.jpg | Existing | Y | 13.0357 | 77.5674 | 36 (Old No.1/1) 5th Main,Next to Trance Retail Shop New BEL Road,4th Cross Rd,3rd Block,Amarjyothi Layout,Raj Mahal Vilas 2nd Stage,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 10 | 0 | 3 | 0 | 0 | 2 | 2 | -
8 | 31 |  | CRSL50 | 38594345 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/07f465e0-0cb4-11f1-b6a5-4fc7748f0447.jpg | SALSS001486 | 16 | SSC107SM01875 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/ec147a50-6329-11f1-a4a3-f997bd8fb64d.jpg | Existing | Y | 13.0334 | 77.5695 | 1floor,1st Cross Rd,Jaladarsini Layout,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 9 | 4 | 0 | 0 | 0 | 10 | 2 | -
9 | - |  | S101 | - |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/4b7e5978-4a93-43b8-a3c1-64d3bdab51c9.jpg | SALSS001245 | 41 | SSC107SM01818 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/d49ecfc0-6305-11f1-a4a3-f997bd8fb64d.jpg | Existing | Y | 13.0407 | 77.569 | 166,10th Cross Rd,HIG Colony,Dollars Colony,R.M.V. 2nd Stage,Roadsc,Bengaluru,Karnataka 560094,India | 4 | 19 | 0 | 0 | 0 | 7 | 2 | -
10 | - |  | SL15 | BD011882 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/dc9e2db6-7a13-4c24-ad77-4382e5d6f3ed.jpg | SALSS001139 | 3 | SSC107SM01955 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/2f0ddde0-62fa-11f1-a4a3-f997bd8fb64d.jpg | Existing | Y | 13.0428 | 77.5703 | E22,4th Cross Rd,Basaveshwara Layout,Ramakrishnappa Layout,Nagashetty Halli,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 6 | 2 | 0 | 0 | 0 | 2 | 5 | -
11 | - |  | C4125673 | BD0029760 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/a30e610d-08d9-4b10-977f-fb68d4093cbb.jpg | SALSS001392 | 5 | SSC107SM01426 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/7f80f170-6301-11f1-a4a3-f997bd8fb64d.jpg | Existing | Y | 13.0405 | 77.5696 | 162,10th Cross Rd,HIG Colony,Dollars Colony,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 2 | 0 | 0 | 0 | 0 | 1 | 7 | -
12 | 48 |  | C412SL48 | BD0552807 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/f07eb786-eb79-4377-9e0f-07f640d9528c.jpg | SALSS001594 | 6 | SSC107SM01833 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/c7f9b290-6336-11f1-a4a3-f997bd8fb64d.jpg | Existing | Y | 13.0325 | 77.5742 | 133,6th Cross Rd,CIL Layout A Block,AECS Layout,Raj Mahal Vilas 2nd Stage,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 3 | 1 | 0 | 0 | 0 | 1 | 1 | -
13 | - |  | EH27141 | A2590220 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/07f465e0-0cb4-11f1-b6a5-4fc7748f0447.jpg | SALSS001083 | 9 | SSC107SM01812 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/7c4a4280-63e8-11f1-9faa-1f8d89bdab1b.jpg | Existing | Y | 13.0323 | 77.5716 | 9,3rd Main Rd,Jaladarsini Layout,Sanjayanagara,Bengaluru,Karnataka 560094,India | 7 | 6 | 0 | 0 | 0 | 0 | 1 | -
14 | - |  | - | - |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/b3bd85ac-d3d2-4f78-b083-cccaac1b4bcb.jpg | SALSS001346 | 7 | SSC107SM01885 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/9659bc80-63e5-11f1-9faa-1f8d89bdab1b.jpg | Existing | - | 13.0318 | 77.5724 | 65,Jaladarshini Layout,Jaladarsini Layout,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 11 | 0 | 0 | 0 | 0 | 2 | 2 | -
15 | 44 |  | C6SL130 | 9738506 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/fb86aed0-7767-11f0-80f6-4594c9d0063c.jpg | SALSS001395 | 7 | SSC107SM01816 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/b0f1b9b0-63dd-11f1-9f56-dd10ec79728a.jpg | Existing | Y | 13.0281 | 77.5741 | Block 2,314,3rd Cross Rd,RMV 2nd Stage,2nd Block,Geddalahalii,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 14 | 2 | 0 | 0 | 0 | 9 | 5 | -
16 | - |  | - | BD0552802 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/472e7200-40e5-4bda-a091-1d33df6a5489.jpg | SALSS001359 | 11 | SSC107SM01948 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/27ed4b90-63d6-11f1-9f56-dd10ec79728a.jpg | Existing | Y | 13.0306 | 77.5755 | 7,2,3rd Cross Rd,AECS Layout,Raj Mahal Vilas 2nd Stage,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 6 | 3 | 0 | 0 | 0 | 0 | 6 | -
17 | - |  | - | BD0552801 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/da577a72-e7d8-4363-bd66-4ab89ce071d0.jpg | SALSS001667 | 13 | SSC107SM01938 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/0067bc80-63cd-11f1-9f56-dd10ec79728a.jpg | Existing | Y | 13.0326 | 77.5747 | Sri Sai Nest Apartment,3rd Main Road,175,2nd Cross Rd,CIL Layout A Block,AECS Layout,Raj Mahal Vilas 2nd Stage,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 14 | 16 | 0 | 0 | 0 | 5 | 2 | -
18 | - |  | C412SL138 | BD0552806 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/f07eb786-eb79-4377-9e0f-07f640d9528c.jpg | SALSS001115 | 62 | SSC107SM02014 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/abf65230-63c5-11f1-9f56-dd10ec79728a.jpg | Existing | Y | 13.0324 | 77.5746 | No-76,Samruddhi,2nd main,3rd Cross Rd,AECS Layout,Raj Mahal Vilas 2nd Stage,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 15 | 2 | 0 | 0 | 0 | 2 | 0 | -
19 | 44 |  | C412SL44 | BD0602450 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/f8838110-816d-4165-8e3f-06f3c8df5a10.jpg | SALSS001370 | 6 | SSC107SM01876 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/2658c5b0-63d2-11f1-9f56-dd10ec79728a.jpg | Existing | Y | 13.0323 | 77.5752 | Raj Mahal Vilas,217,2nd Main Rd,AECS Layout,Raj Mahal Vilas 2nd Stage,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 7 | 0 | 0 | 0 | 0 | 3 | 0 | -
20 | 121 |  | C6SL457 | 50402882 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/34cce6d0-233c-49eb-b39b-5e53ba41e814.jpg | SALSS001507 | 6 | SSC107SM01958 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/7c439610-6488-11f1-beee-0196e6498425.jpg | Existing | Y | 13.032 | 77.5718 | 28,near Shreya Apartments,Jaladarsini Layout,Mathikere,Bengaluru,Karnataka 560094,India | 4 | 0 | 0 | 0 | 0 | 1 | 0 | -
21 | 45 |  | C6SL95 | 2924236 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/4da58291-2440-41f0-b0f7-5cdf5ebf4f64.jpg | SALSS001010 | 28 | SSC107SM01827 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/3e963340-63d9-11f1-9f56-dd10ec79728a.jpg | Existing | Y | 13.0285 | 77.5753 | Block 2,220,Banday Colony,Geddalahalii,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 12 | 1 | 0 | 0 | 0 | 1 | 2 | -
22 | - |  | SL115MR52 | A48367201 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/d27b2b37-7c85-4cb8-9d1c-abff04bc2813.jpg | SALSS001889 | 6 | SSC107SM01774 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/8718a1c0-6555-11f1-a72e-7bb53628fda8.jpg | Existing | Y | 13.0401 | 77.5754 | Kademada Leelesh Divya,16,7th Cross Rd,AECS Layout,Nagashetty Halli,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 14 | 8 | 0 | 0 | 0 | 5 | 0 | -
23 | 155 |  | SL155 | BD0828530 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/35ca9670-6f88-11f0-8443-f3573ed1ec0e.jpg | SALSS001510 | 10 | SSC107SM02007 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/b3e60ba0-656b-11f1-a72e-7bb53628fda8.jpg | Existing | Y | 13.0405 | 77.5821 | 149/1,2nd Main Rd,Central Excise Layout,Sanjayanagara,Bengaluru,Karnataka 560094,India | 1 | 11 | 1 | 0 | 0 | 2 | 0 | -
24 | 89 |  | SL83 | BD0200663 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/41844cf0-6f7d-11f0-983a-2d4915e4c955.jpg | SALSS001936 | 2 | SSC107SM02392 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/2409a470-6565-11f1-a72e-7bb53628fda8.jpg | Existing | Y | 13.0392 | 77.5814 | 50A,6th Cross Rd,Central Excise Layout,Sanjayanagara,Bengaluru,Karnataka 560094,India | 9 | 28 | 0 | 0 | 0 | 9 | 0 | -
25 | 90 |  | SL-90 | BD0130092 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/5c3436ff-3fca-469a-b3e0-b6b261f82484.jpg | SALSS002196 | 14 | SSC107SM01759 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/4518a310-6569-11f1-a72e-7bb53628fda8.jpg | Existing | Y | 13.0401 | 77.5818 | 169,2nd Main Rd,Central Excise Layout,Sanjayanagara,Bengaluru,Karnataka 560094,India | 3 | 29 | 0 | 0 | 0 | 4 | 0 | -
26 | - |  | SL88 | A4822720 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/efd260f4-a99a-489f-994e-69c10569d969.jpg | SALSS001003 | 37 | SSC107SM01595 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/6a3c4a20-656e-11f1-a72e-7bb53628fda8.jpg | Existing | Y | 13.0409 | 77.582 | 119,1st Cross Rd,Central Excise Layout,Sanjayanagara,Bengaluru,Karnataka 560094,India | 5 | 7 | 0 | 0 | 0 | 2 | 0 | -
27 | - |  | - | BD0446338 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/da60030e-c7c4-4f78-9997-54a4c84dfb26.jpg | SALSS001061 | 8 | SSC107SM01934 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/6d714d80-655a-11f1-a72e-7bb53628fda8.jpg | Existing | Y | 13.0407 | 77.5743 | 63/6,Muneshwara Temple Rd,Byrappa Layout,Nagashetty Halli,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 14 | 5 | 0 | 0 | 0 | 0 | 3 | -
28 | 103 |  | C4125403 | BD0602453 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/08cbf260-0b0d-11f1-9f19-f56b3edd6013.jpg | SALSS001005 | 21 | SSC107SM01865 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/1b848430-6e04-11f1-acc7-a37ed5487c08.jpg | Existing | Y | 13.0269 | 77.5798 | Ashwath Nagara,Ramkrishna Layout,Sanjayanagara,Bengaluru,Karnataka 560094,India | 4 | 0 | 0 | 0 | 0 | 1 | 1 | -
29 | 137 |  | C4SL137 | BD0553771 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/a30e610d-08d9-4b10-977f-fb68d4093cbb.jpg | SALSS001126 | 11 | SSC107SM02068 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/0eebe290-6e13-11f1-8737-79890971b857.jpg | Existing | Y | 13.0418 | 77.5713 | 25,7th Cross Rd,AECS Layout,Nagashetty Halli,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 14 | 5 | 0 | 0 | 0 | 5 | 1 | -
30 | 13 |  | C6SL99 | BC0302949 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/4f2519e7-3800-4b00-a9fa-825bf4e26ad4.jpg | SALSS001095 | 68 | SSC107SM01897 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/f66720e0-6e0d-11f1-bfeb-156803c5f7ec.jpg | Existing | Y | 13.031 | 77.5729 | 371,8th Main Rd,Jaladarsini Layout,Mathikere,Bengaluru,Karnataka 560094,India | 15 | 8 | 0 | 0 | 0 | 7 | 0 | -
31 | - |  | SL80 | BD0552808 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/d5fe0fda-6a20-4476-931c-0f74db02337c.jpg | SALSS001069 | 11 | SSC107SM01960 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/715c3fd0-6e0c-11f1-aa9d-0530ed8208fe.jpg | Existing | Y | 13.0309 | 77.5743 | 57-58,58,6th Cross Rd,RMV 2nd Stage,AECS Layout,Raj Mahal Vilas 2nd Stage,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 12 | 9 | 0 | 0 | 0 | 1 | 0 | -
32 | 52 |  | SL52 | A4833397 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/747a6779-450c-4aab-965e-73bf9788c9e4.jpg | SALSS001116 | 65 | SSC107SM02013 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/54054780-6e05-11f1-acc7-a37ed5487c08.jpg | Existing | Y | 13.0282 | 77.5786 | Annapoorna Apartment,2nd Cross Rd,MET Layout,Geddalahalii,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 11 | 1 | 0 | 0 | 0 | 3 | 0 | -
33 | 16 |  | C412S46 | BD0552305 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/f05b68a3-4831-463a-bf25-7f74bd49315b.jpg | SALSS001449 | 8 | SSC107SM01572 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/9c098d00-6e1b-11f1-9686-e7e4e1c5e523.jpg | Existing | Y | 13.0441 | 77.5709 | Dollars Residencies,1st A Cross Rd,Basaveshwara Layout,Ramakrishnappa Layout,Nagashetty Halli,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 22 | 19 | 0 | 0 | 0 | 5 | 0 | -
34 | - |  | C6SL96 | BC081477 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/56f17250-776d-11f0-b55a-3fffafb47399.jpg | SALSS001393 | 5 | SSC107SM01891 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/4c784ef0-6e09-11f1-aa9d-0530ed8208fe.jpg | Existing | Y | 13.0289 | 77.5735 | 395,2nd Cross Rd,KGE Layout,Sanjayanagara,Bengaluru,Karnataka 560094,India | 5 | 9 | 0 | 0 | 0 | 1 | 0 | -
35 | - |  | C412SL80 | BD0465276 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/05ed89fb-79bf-4a96-b789-7e6af0f283e3.jpg | SALSS001343 | 31 | SSC107SM01906 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/c8a9b3e0-6e06-11f1-9cbe-efe9fd0db316.jpg | Existing | Y | 13.0275 | 77.577 | 1,80 Feet Rd,RMV 2nd Stage,Ashwath Nagar,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 16 | 0 | 0 | 0 | 0 | 3 | 8 | -
36 | 36 |  | C65L98 | BD0464025 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/b3bd85ac-d3d2-4f78-b083-cccaac1b4bcb.jpg | SALSS001490 | 18 | SSC107SM01880 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/4c7151a0-6e2b-11f1-9904-3374f7305fe5.jpg | Existing | Y | 13.0428 | 77.5651 | 64,Railway Colony,Railway Mens Colony,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 12 | 0 | 0 | 0 | 0 | 2 | 2 | -
37 | 116 |  | C6SL65 | BD0721498 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/2c40ae11-dbd6-40d9-a475-faa11b8b0614.jpg | SALSS001236 | 20 | SSC107SM02098 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/5c38f170-6e2f-11f1-bf73-9b1491a19b2a.jpg | Existing | Y | 13.0421 | 77.5645 | 23,RMV 2nd Stage,Venkatachary Nagar,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 13 | 1 | 0 | 0 | 0 | 2 | 3 | -
38 | - |  | C412SL70 | BC2182980 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/594af7e9-8d23-4efc-8da0-92e01a68e275.jpg | SALSS002430 | 10 | SSC107SM01638 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/08b9c140-6e26-11f1-aa71-2b350d18e806.jpg | Existing | Y | 13.0444 | 77.5702 | 12,4th Cross Rd,2nd Block,Dollars Colony,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 1 | 6 | 0 | 0 | 0 | 5 | 0 | -
39 | 42 |  | C652462 | BD0256717 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/bdc25349-d825-45a0-85b3-b4966647d45d.jpg | SALSS001427 | 9 | SSC107SM01802 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/fa7e0580-6e09-11f1-aa9d-0530ed8208fe.jpg | Existing | Y | 13.0289 | 77.5734 | 384,3rd Main Rd,KGE Layout,Sanjayanagara,Bengaluru,Karnataka 560094,India | 10 | 0 | 0 | 0 | 0 | 1 | 2 | -
40 | 42 |  | C652165 | BC1084496 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/dcc2fda6-8c5b-4061-8d30-3cc57394a6f5.jpg | SALSS001600 | 12 | SSC107SM01828 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/fbdfc2f0-6e0a-11f1-aa9d-0530ed8208fe.jpg | Existing | Y | 13.0297 | 77.5714 | 177,2nd Cross Rd,near Flying Machine,KGE Layout,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 13 | 0 | 0 | 0 | 0 | 0 | 2 | -
41 | 30 |  | C4125230 | BD0615076 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/14b77c6f-cf7a-4322-a8b4-a07fdaa00cfd.jpg | SALSS001308 | 7 | SSC107SM01832 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/ff6f38c0-711f-11f1-b752-05e72f7412dd.jpg | Existing | Y | 13.0353 | 77.5726 | 21,2,3rd Cross Rd,I S R O Layout,Naidu Layout,Raj Mahal Vilas 2nd Stage,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 15 | 2 | 0 | 0 | 0 | 0 | 1 | -
42 | 132 |  | SL132 | 2923666 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/64f2447d-ecd8-479d-8627-83c274552cca.jpg | SALSS001006 | 4 | SSC107SM01529 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/5c4f3e80-7122-11f1-9800-89eba34a8a56.jpg | Existing | Y | 13.0352 | 77.5731 | 32,4th Cross Rd,I S R O Layout,RMV,Stage 2,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 20 | 6 | 0 | 0 | 0 | 12 | 4 | -
43 | 319 |  | C6SL142 | BD0092168 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/dd586190-7bfb-11f0-bc3a-8fffe3fd91c4.jpg | SALSS001047 | 10 | SSC107SM01583 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/c8bf4250-85ad-11f1-904a-55424a25fc54.jpg | Existing | Y | 13.0441 | 77.5675 | 10,1st Cross Rd,Lottegollahalli,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 3 | 0 | 0 | 2 | 6 | 0 | 2 | -
44 | 287 |  | C4125L76 | BD1026172 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/6f6d3bbb-db04-47ee-be84-cc416a64b17d.jpg | SALSS001389 | 4 | SSC107SM01829 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/19beb990-80e2-11f1-a353-33905ff3440a.jpg | Existing | Y | 13.0392 | 77.5716 | 259,2nd Cross Rd,Krishnappa Layout,Nagashetty Halli,Sanjayanagara,Bengaluru,Karnataka 560094,India | 9 | 9 | 0 | 0 | 0 | 3 | 5 | -
45 | 79 |  | CLSL79 | BD0023218 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/9d30df93-8c31-4a60-838e-490b79881038.jpg | SALSS002462 | 21 | SSC107SM01913 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/32bd70c0-80e8-11f1-b81e-7bc267d8b153.jpg | Existing | Y | 13.0404 | 77.5703 | 1/32,1st Cross Rd,AECS Layout,Nagashetty Halli,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 2 | 5 | 0 | 0 | 0 | 3 | 2 | -
46 | 59 |  | - | BDO830526 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/da60030e-c7c4-4f78-9997-54a4c84dfb26.jpg | SALSS002733 | 4 | SSC107SM02604 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/e71e6ff0-80df-11f1-a234-8590e1247aef.jpg | Existing | Y | 13.0362 | 77.5744 | 2HPF+FMH,2nd Cross Rd,Amarjyothi Layout,Raj Mahal Vilas 2nd Stage,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 13 | 8 | 0 | 0 | 0 | 0 | 1 | -
47 | 93 |  | C4EH32093 | BD0597456 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/8d1ad0f5-d82f-4387-b0dd-fb2d365f0194.jpg | SALSS002533 | 8 | SSC107SM02611 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/d31bc940-8101-11f1-8e7d-bb7b88b19233.jpg | Existing | Y | 13.043 | 77.5676 | 471,Dollars Colony,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 0 | 2 | 6 | 0 | 0 | 0 | 2 | -
48 | 121 |  | C6SL121 | BD0720394 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/0b153f53-a5b0-40c5-9a2c-85667cd920a8.jpg | SALSS002562 | 9 | SSC107SM02614 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/02244c30-826f-11f1-8f9b-cf89a30b2724.jpg | Existing | Y | 13.0363 | 77.5672 | 538,2nd Cross Rd,3rd Block,Amarjyothi Layout,Raj Mahal Vilas 2nd Stage,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 4 | 9 | 0 | 0 | 0 | 4 | 2 | -
49 | 71 |  | C412SL71 | BC2484128 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/ef937863-768a-4310-a440-da6f66d635af.jpg | SALSS002789 | 10 | SSC107SM02649 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/95779cb0-80eb-11f1-84be-0feef25bf446.jpg | Existing | Y | 13.0457 | 77.5711 | 559,1st A Cross Rd,HIG Colony,Dollars Colony,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 7 | 1 | 0 | 0 | 0 | 22 | 5 | -
50 | - |  | C4SL1181 | BD0045957 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/129afa6b-1921-44c1-9f0f-1674a95045fa.jpg | SALSS003025 | 7 | SSC107SM02666 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/6213c3e0-8108-11f1-b46b-2551b955ebd7.jpg | Existing | Y | 13.0427 | 77.5662 | 60-61,Railway Colony,Railway Mens Colony,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 9 | 7 | 0 | 0 | 0 | 1 | 4 | -
51 | 110 |  | C456H15798 | 1655210 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/d75e454c-b3ab-4af6-b527-bd46a3cb651e.jpg | SALSS002582 | 19 | SSC107SM02682 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/d8cc3210-80db-11f1-9941-c1eb6442117d.jpg | Existing | Y | 13.0361 | 77.5736 | 78,5th Main Rd,Amarjyothi Layout,Raj Mahal Vilas 2nd Stage,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 28 | 6 | 0 | 0 | 0 | 0 | 0 | -
52 | 53 |  | C6SL-453 | 50895838 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/65ab0c75-d4c3-4b62-baa6-09dde3f1101f.jpg | SALSS002583 | 17 | SSC107SM02688 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/6cc5bc50-84f8-11f1-a174-99b40ebf20f3.jpg | Existing | Y | 13.0435 | 77.5648 | 17,3rd Main Rd,Railway Colony,Railway Mens Colony,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 6 | 1 | 0 | 0 | 0 | 2 | 5 | -
53 | 35 |  | C412SL35 | BD0552301 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/da60030e-c7c4-4f78-9997-54a4c84dfb26.jpg | SALSS003054 | 17 | SSC107SM02696 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/91d2d240-80d8-11f1-b7e3-cd58cdb0ceda.jpg | Existing | Y | 13.0339 | 77.5753 | 0 | 15 | 17 | 0 | 0 | 0 | 7 | 7 | -
54 | - |  | C412SL69 | BD0023742 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/40111742-b861-49f9-aa6a-089678142e87.jpg | SALSS002993 | 4 | SSC107SM02697 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/f147aa50-80f3-11f1-941b-8b7ec78371f7.jpg | Existing | Y | 13.0427 | 77.5693 | 113,6th Cross Rd,HIG Colony,Dollars Colony,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 0 | 5 | 0 | 0 | 0 | 1 | 1 | -
55 | 10 |  | C6SL63 | 42572824 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/3ead9230-7bf2-11f0-8b1a-2ba6c280285b.jpg | SALSS002541 | 9 | SSC107SM02707 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/4f326a30-84e4-11f1-b49f-fb21e4862710.jpg | Existing | Y | 13.0435 | 77.564 | 19,4th Cross Rd,Railway Colony,Railway Mens Colony,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 10 | 1 | 0 | 0 | 0 | 0 | 1 | -
56 | - |  | C6SL466 | BD0253533 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/4da58291-2440-41f0-b0f7-5cdf5ebf4f64.jpg | SALSS002547 | 4 | SSC107SM02714 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/f4cd8550-826a-11f1-b00f-3b12e2970103.jpg | Existing | Y | 13.0354 | 77.5679 | 15,2nd Cross Rd,3rd Block,Amarjyothi Layout,Raj Mahal Vilas 2nd Stage,Sanjayanagara,Bengaluru,Karnataka 560094,India | 6 | 1 | 0 | 0 | 0 | 0 | 2 | -
57 | 17 |  | SL78A | BD0553772 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/128bf365-1036-4b56-9728-030b179c0681.jpg | SALSS002514 | 47 | SSC107SM02726 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/3bc69750-810b-11f1-9a33-87023feb6265.jpg | Existing | Y | 13.0403 | 77.5649 | 516,7th Main Rd,Dollars Colony,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 5 | 2 | 2 | 0 | 0 | 4 | 5 | -
58 | - |  | CLSL437 | 2926678 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/f3ed5f26-f66c-4fa4-ab2b-1614f8ca2895.jpg | SALSS002684 | 15 | SSC107SM02731 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/0513f230-80e7-11f1-b81e-7bc267d8b153.jpg | Existing | Y | 13.0402 | 77.5723 | 2,1st Cross Rd,AECS Layout,Nagashetty Halli,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 4 | 28 | 0 | 0 | 0 | 5 | 6 | -
59 | 69 |  | C439142 | BD0087294 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/40111742-b861-49f9-aa6a-089678142e87.jpg | SALSS003058 | 17 | SSC107SM02740 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/b9ff6e60-80ef-11f1-8bba-4f5924d57a0a.jpg | Existing | Y | 13.043 | 77.5685 | 103,6th Cross Rd,HIG Colony,Dollars Colony,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 0 | 8 | 8 | 0 | 0 | 2 | 2 | -
60 | 128 |  | C6SL128 | BD0254095 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/65cb2d55-2b19-4180-9a2a-29cb518de54a.jpg | SALSS002898 | 9 | SSC107SM02748 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/bfe8f100-8268-11f1-8ff6-05aa164758c7.jpg | Existing | Y | 13.0347 | 77.5683 | 15,New BEL Rd,3rd Block,Amarjyothi Layout,Raj Mahal Vilas 2nd Stage,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 3 | 4 | 0 | 0 | 0 | 2 | 0 | -
61 | 73 |  | C6SL552 | A7234447 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/28abcee0-7c0e-11f0-99c1-756054f5c0bb.jpg | SALSS002526 | 102 | SSC107SM02774 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/2c94c430-84ff-11f1-b7f7-b9a26d628b37.jpg | Existing | Y | 13.0456 | 77.5651 | Bina Nivas,2nd Cross Rd,Lottegollahalli,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 8 | 0 | 0 | 0 | 0 | 2 | 0 | -
62 | 3 |  | C6SL-3 | BD0719235 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/6f1a08b0-7bf0-11f0-aa7c-9d2efe2f0e2b.jpg | SALSS002589 | 15 | SSC107SM02780 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/02e324d0-84df-11f1-a4a0-4d0c967e88fc.jpg | Existing | Y | 13.0424 | 77.5638 | St Chaugule House,Venkatachary Nagar,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 8 | 0 | 0 | 0 | 0 | 0 | 0 | -
63 | 115 |  | C6SL396 | BD0105793 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/5e1d5300-7be6-11f0-918d-e5728cc75b24.jpg | SALSS002527 | 103 | SSC107SM02781 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/ad387b90-8284-11f1-a13d-69993a3a9a90.jpg | Existing | Y | 13.0416 | 77.5644 | 83/A,Venkatachary Nagar,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 10 | 3 | 0 | 0 | 0 | 0 | 2 | -
64 | 49 |  | C6SL83 | BD0226053 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/de1822a0-4210-416f-9f34-ac8b316bae68.jpg | SALSS002873 | 8 | SSC107SM02798 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/c16ac320-8275-11f1-80a2-ff09fbad726e.jpg | Existing | Y | 13.0372 | 77.5677 | 583,1st Main Rd,Amarjyothi Layout,Raj Mahal Vilas 2nd Stage,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 4 | 5 | 0 | 0 | 0 | 2 | 0 | -
65 | 9 |  | C6SL160 | BD0254096 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/7089e930-7bec-11f0-b45d-31342cb3f7a5.jpg | SALSS002999 | 18 | SSC107SM02806 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/b5d458a0-84dc-11f1-ae38-8d9327178cb4.jpg | Existing | Y | 13.042 | 77.5628 | 15,2nd Main Rd,Venkatachary Nagar,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 6 | 0 | 0 | 0 | 0 | 1 | 0 | -
66 | 13 |  | - | A3436844 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/479c64b0-7bee-11f0-9f35-690a2fbc7f5b.jpg | SALSS002634 | 7 | SSC107SM02816 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/9d992640-84db-11f1-ae38-8d9327178cb4.jpg | Existing | Y | 13.0418 | 77.5626 | 12,1st Main Rd,Venkatachary Nagar,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 0 | 8 | 12 | 0 | 0 | 0 | 2 | -
67 | 18 |  | C6SL04 | BD0274419 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/fa477e00-7a5a-11f0-bbdb-f5999f822a46.jpg | SALSS002652 | 5 | SSC107SM02822 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/2b1edaf0-84dc-11f1-ae38-8d9327178cb4.jpg | Existing | Y | 13.0412 | 77.5631 | sanjeevini nilaya,155/A,1st Cross Rd,Venkatachary Nagar,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 2 | 5 | 0 | 0 | 0 | 0 | 0 | -
68 | 64 |  | C6SL64 | BD0719262 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/61eff9f4-a99d-4510-82f1-f3b1c55f47a3.jpg | SALSS003491 | 6 | SSC107SM02975 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/1047f140-84ea-11f1-a6ca-5f4448be8404.jpg | Existing | Y | 13.044 | 77.564 | 148,2nd Main Rd,Railway Colony,Railway Mens Colony,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 9 | 1 | 0 | 0 | 0 | 4 | 0 | -
69 | 1718 |  | C6SL562 | BC0813537 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/d3183da0-7c04-11f0-b41e-9d1de1ecaeb1.jpg | SALSS003145 | 9 | SSC107SM03144 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/01ccc400-85a9-11f1-8af0-6541d3f834d0.jpg | Existing | Y | 13.0454 | 77.5667 | 13,Muni Hanumanthaiah Layout,Block 4,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 10 | 0 | 0 | 0 | 0 | 1 | 0 | -
70 | 62 |  | SL62 | A7233455 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/d1eaaf90-7c03-11f0-b29a-0b6d37ce4e06.jpg | SALSS003594 | 12 | SSC107SM03261 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/3524df70-84fc-11f1-8060-69dcf2789b9e.jpg | Existing | Y | 13.045 | 77.5673 | E-5,1st Main Rd,Hanumaiah Layout,Lg Halli,Nagashetty Halli,Bengaluru,Karnataka 560094,India | 16 | 0 | 0 | 0 | 0 | 3 | 3 | -
71 | 369 |  | C6SL430 | BD0413305 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/91d39d1d-45cd-4bea-af85-dd5857268830.jpg | SALSS003554 | 24 | SSC107SM03297 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/5686c480-85ba-11f1-8085-fb330503373c.jpg | Existing | Y | 13.0323 | 77.5726 | 2HJC+VXX,10,5th Cross Rd,Jaladarsini Layout,Sanjayanagara,Bengaluru,Karnataka 560094,India | 7 | 1 | 0 | 0 | 0 | 4 | 1 | -
72 | 102 |  | C6SL102 | BC0797921 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/b505b420-7c16-11f0-a8e2-891c817f2c4e.jpg | SALSS003231 | 4 | SSC107SM03298 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/c085b810-859b-11f1-baf2-4336d74f50af.jpg | Existing | Y | 13.0458 | 77.5683 | 26,2nd Main Rd,Lg Halli,Nagashetty Halli,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 10 | 0 | 2 | 0 | 0 | 3 | 1 | -
73 | 13 |  | C6SL61 | BD0413478 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/b2a213e0-7c11-11f0-96df-f7bd64892534.jpg | SALSS003013 | 5 | SSC107SM03303 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/aee87f10-8501-11f1-869f-25564b29fa08.jpg | Existing | Y | 13.0462 | 77.5664 | 29,Lottegollahalli,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 6 | 0 | 0 | 0 | 0 | 1 | 0 | -
74 | - |  | C6SL556 | A2545261 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/23a61d70-7c12-11f0-b571-6774d48c96b7.jpg | SALSS003321 | 12 | SSC107SM03308 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/70a60280-85a2-11f1-a6b2-5550ed4e45c6.jpg | Existing | Y | 13.0463 | 77.5668 | 3,2nd Main Rd,Lottegollahalli,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 9 | 0 | 0 | 0 | 0 | 0 | 0 | -
75 | 121 |  | C6SL94 | BC0982321 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/b1164db1-7d12-417f-82db-a40c273a4bca.jpg | SALSS003262 | 22 | SSC107SM03355 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/d8865a00-85be-11f1-b0ec-ffe1d3395769.jpg | Existing | Y | 13.0319 | 77.5716 | 2HJC+QJJ,Jaladarsini Layout,Sanjayanagara,Bengaluru,Karnataka 560094,India | 9 | 2 | 0 | 0 | 0 | 0 | 0 | -
76 | 44 |  | C6SL100 | BCO244791 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/b54a7030-7c14-11f0-953c-7f40a0a501ff.jpg | SALSS004069 | 11 | SSC107SM03701 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/4ff7afc0-85c5-11f1-85c6-d7c8778944c8.jpg | Existing | Y | 13.03 | 77.5749 | 255,4th Cross Rd,Banday Colony,Geddalahalii,Armane Nagar,Bengaluru,Karnataka 560094,India | 10 | 1 | 0 | 0 | 0 | 7 | 0 | -
77 | 14 |  | C6SL60 | BD0719888 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/b5ec7c90-7c14-11f0-953c-7f40a0a501ff.jpg | SALSS004096 | 9 | SSC107SM03848 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/691871e0-859f-11f1-bbae-9bbd7fb803f2.jpg | Existing | Y | 13.0462 | 77.5676 | 69,Hanumaiah Layout,Lottegollahalli,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 7 | 0 | 0 | 0 | 0 | 0 | 0 | -
78 | - |  | LS-92C412SL1 | BC144732 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/6f6d3bbb-db04-47ee-be84-cc416a64b17d.jpg | SALSS000971 | 1 | SSC107SM00497 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/df53e1c0-873c-11f1-a6ea-afc8cdfb4ef3.jpg | Existing | Y | 13.0394 | 77.5723 | 14,AECS Layout,II Main III Stage,Sanjayanagara,Bengaluru,Karnataka 560094,India | 39 | 10 | 0 | 0 | 0 | 10 | 8 | -
79 | - |  | C4SL153 | BD0523902 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/e0645fed-1bc6-46a3-a248-709d604776d2.jpg | SALSS000927 | 4 | SSC107SM00534 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/7d511790-873c-11f1-a6ea-afc8cdfb4ef3.jpg | Existing | Y | 13.0392 | 77.5706 | 63,1st A Main,Krishnappa Layout,Nagashetty Halli,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 8 | 1 | 0 | 0 | 0 | 2 | 2 | -
80 | - |  | C4SL72 | BDO11887 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/662dfe7d-afe7-4649-b749-289e3f90ae48.jpg | SALSS002424 | 9 | SSC107SM01616 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/69609b50-8748-11f1-bd61-3b8d19827918.jpg | Existing | Y | 13.038 | 77.5696 | 2HQ9+6MF,15th Cross Rd,HIG Colony,Dollars Colony,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 13 | 1 | 6 | 0 | 0 | 5 | 3 | -
81 | 85 |  | C6SL85 | BC0608586 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/a30e610d-08d9-4b10-977f-fb68d4093cbb.jpg | SALSS001595 | 9 | SSC107SM01806 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/d7762590-874a-11f1-8264-1fc9acea6107.jpg | Existing | Y | 13.0377 | 77.5692 | 606,RMV Club Rd,Amarjyothi Layout,Raj Mahal Vilas 2nd Stage,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 0 | 0 | 0 | 0 | 0 | 5 | 0 | -
82 | 21 |  | C6SL554 | 53282921 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/9d30df93-8c31-4a60-838e-490b79881038.jpg | SALSS001596 | 6 | SSC107SM01810 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/36508370-8747-11f1-81fc-35320ae2d575.jpg | Existing | Y | 13.0376 | 77.5673 | 596/D,RMV Club Rd,Amarjyothi Layout,Raj Mahal Vilas 2nd Stage,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 0 | 3 | 12 | 0 | 0 | 2 | 2 | -
83 | 48 |  | C412SL48 | BD0829852 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/3076bc60-7039-11f0-9b1a-89012fe562c4.jpg | SALSS001543 | 5 | SSC107SM01844 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/509e3ff0-8739-11f1-ac49-1fea9189bb58.jpg | Existing | Y | 13.0375 | 77.5719 | 20,2nd Main Rd,Naidu Layout,Raj Mahal Vilas 2nd Stage,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 18 | 6 | 0 | 0 | 0 | 1 | 2 | -
84 | - |  | C6SL158 | - |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/bdc25349-d825-45a0-85b3-b4966647d45d.jpg | SALSS002935 | 7 | SSC107SM02586 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/557cb830-8662-11f1-857d-4fd2fbd8e276.jpg | Existing | Y | 13.03 | 77.5729 | 168,8th Main Rd,Seenappa Layout,Jaladarsini Layout,Sanjayanagara,Bengaluru,Karnataka 560094,India | 3 | 1 | 0 | 0 | 0 | 1 | 1 | -
85 | 103 |  | C6SL103 | BD0242103 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/849e7de0-776f-11f0-ba20-09907b12c3b1.jpg | SALSS002558 | 8 | SSC107SM02943 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/23d19ed0-8672-11f1-8c7b-098a342f8ed9.jpg | Existing | Y | 13.0289 | 77.5721 | #28,1st Main road 3rd Cross Opposite,Dentique Dental Clinic,New BEL Rd,KGE Layout,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 17 | 0 | 0 | 0 | 0 | 3 | 4 | -
86 | 94 |  | C4SL-193 | BD0068138 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/7e9d3374-ea46-442f-aca4-c60e02cb8ba6.jpg | SALSS003419 | 28 | SSC107SM03273 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/95e60920-8681-11f1-95a7-7de13c5eed9d.jpg | Existing | Y | 13.0306 | 77.5774 | Bus Stop,1,4th Cross Rd,AECS Layout,Raj Mahal Vilas 2nd Stage,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 10 | 6 | 6 | 0 | 6 | 0 | 2 | -
87 | 39 |  | C6SL431 | BD0092161 |  | <img src="https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/8dda7054-41e1-472c-9306-9f1fa7bbe0a1.jpg" class="pole-image" target="_blank"/> | SALSS003122 | 24 | SSC107SM03332 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/fbb48350-866b-11f1-a0a7-5960e84e7a13.jpg | Existing | Y | 13.0293 | 77.5714 | 108,3rd Main Rd,Jaladarsini Layout,Mathikere,Bengaluru,Karnataka 560094,India | 4 | 28 | 0 | 0 | 0 | 1 | 5 | -
88 | - |  | C6SL | 10750579 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/8a10231f-35ed-4d28-a364-96ed7df61273.jpg | SALSS003263 | 24 | SSC107SM03337 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/e50c6650-8665-11f1-b99e-953f68bad23a.jpg | Existing | Y | 13.0296 | 77.5727 | Block 2,151,8th Main Rd,RMV 2nd Stage,Geddalahalii,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 8 | 0 | 0 | 0 | 0 | 0 | 2 | -
89 | 85 |  | C412SL85 | BD0023750 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/7dd7da03-e153-414e-bffe-4d3ba6206246.jpg | SALSS003411 | 5 | SSC107SM03340 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/5d1e1bf0-8686-11f1-a8d8-231846d1b2ea.jpg | Existing | Y | 13.029 | 77.5762 | 18,7th Cross Rd,Banday Colony,Geddalahalii,Armane Nagar,Bengaluru,Karnataka 560094,India | 6 | 3 | 0 | 0 | 0 | 1 | 1 | -
90 | 106 |  | C412SL106 | BD0552809 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/08cbf260-0b0d-11f1-9f19-f56b3edd6013.jpg | SALSS003487 | 158 | SSC107SM03360 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/a1aa66a0-8679-11f1-85f9-bd165d1d2409.jpg | Existing | Y | 13.0291 | 77.5785 | 60,Dr Rajgopal Rd,MET Layout,Geddalahalii,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 0 | 14 | 4 | 0 | 0 | 0 | 2 | -
91 | - |  | C4SL193 | 4214 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/c3c61a60-6f67-11f0-9769-93d0fe0712ee.jpg | SALSS003723 | 12 | SSC107SM04214 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/68bd3ff0-8be9-11f1-8d5e-438292c1ac47.jpg | Existing | Y | 13.0457 | 77.5731 | 18/1,Nagashettihalli,Ramakrishnappa Layout,Srinivasa Garden,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 24 | 7 | 0 | 0 | 0 | 8 | 2 | -
92 | 56 |  | C412SL14 | BD0053965 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/5a42d171-feb6-4984-b40e-75c356134d1c.jpg | SALSS004389 | 9 | SSC107SM04427 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/21b957d0-8bf1-11f1-a95c-1de5c173b731.jpg | Existing | Y | 13.0458 | 77.575 | 134/2,Sanjay Nagar Main Rd,Basaveshwara Layout,Patelappa Layout,Nagashetty Halli,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 24 | 9 | 0 | 0 | 0 | 6 | 5 | -
93 | 5 |  | C415SL5 | BC155364 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/5a42d171-feb6-4984-b40e-75c356134d1c.jpg | SALSS004341 | 18 | SSC107SM04487 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/f0f940e0-8be3-11f1-8589-35dc175868b1.jpg | Existing | Y | 13.0456 | 77.5741 | 19,2nd Cross Rd,Patelappa Layout,Nagashetty Halli,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 21 | 15 | 0 | 0 | 0 | 3 | 4 | -
94 | - |  | C4SL103 | BD0568374 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/ef937863-768a-4310-a440-da6f66d635af.jpg | SALSS004819 | 41 | SSC107SM04498 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/8673ebd0-8bed-11f1-b414-55233a79a807.jpg | Existing | Y | 13.0456 | 77.5751 | RMV 2nd Stage,RMV Extension,Patelappa Layout,Nagashetty Halli,R.M.V. 2nd Stage,Bengaluru,Karnataka 560094,India | 4 | 4 | 0 | 0 | 0 | 0 | 0 | -

## Sheet2
CCMS Panel Number | Old Switch Point Number
SSC107SM01196 | SP108 | w61 | SALSS001047 | 10
SSC107SM01734 | SP082 | w61 | SALSS001389 | 4
SSC107SM01888 | SP060 | w61 | SALSS002462 | 21
SSC107SM01858 | SP095 | w61 | SALSS002733 | 4
SSC107SM01905 | SP013 | w61 | SALSS002533 | 8
SSC107SM01985 | SP110 | w61 | SALSS002562 | 9
SSC107SM01298 | SP112 | w61 | SALSS002789 | 10
SSC107SM01875 | SP096 | w61 | SALSS003025 | 7
SSC107SM01818 | SP025 | w61 | SALSS002582 | 19
SSC107SM01955 | SP013 | w61 | SALSS002583 | 17
SSC107SM01426 | - | w61 | SALSS003054 | 17
SSC107SM01833 | SP081 | w61 | SALSS002993 | 4
SSC107SM01812 | SP097 | w61 | SALSS002541 | 9
SSC107SM01885 | SP102 | w61 | SALSS002547 | 4
SSC107SM01816 | SP086 | w61 | SALSS002514 | 47
SSC107SM01948 | SP078 | w61 | SALSS002684 | 15
SSC107SM01938 | SP059 | w61 | SALSS003058 | 17
SSC107SM02014 | SP080 | w61 | SALSS002898 | 9
SSC107SM01876 | SP079 | w61 | SALSS002526 | 102
SSC107SM01958 | SP099 | w61 | SALSS002589 | 15
SSC107SM01827 | SP077 | w61 | SALSS002527 | 103
SSC107SM01774 | SP051 | w61 | SALSS002873 | 8
SSC107SM02007 | SP044 | w61 | SALSS002999 | 18
SSC107SM02392 | SP042 | w61 | SALSS002652 | 5
SSC107SM01759 | SP043 | w61 | SALSS003491 | 6
SSC107SM01595 | SP045 | w61 | SALSS003145 | 9
SSC107SM01934 | SP058 | w61 | SALSS003594 | 12
SSC107SM01865 | SP072 | w61 | SALSS003554 | 24
SSC107SM02068 | SP014 | w61 | SALSS003231 | 4
SSC107SM01897 | SP083 | w61 | SALSS003013 | 5
SSC107SM01960 | SP084 | w61 | SALSS003321 | 12
SSC107SM02013 | SP074 | w61 | SALSS003262 | 22
SSC107SM01572 | SP001 | w61 | SALSS004069 | 11
SSC107SM01891 | SP087 | w61 | SALSS004096 | 9
SSC107SM01906 | SP075 | w61 | SALSS000971 | 1
SSC107SM01880 | SP102 | w61 | SALSS000927 | 4
SSC107SM02098 | SP130 | w61 | SALSS002424 | 9
SSC107SM01638 | SP011 | w61 | SALSS001595 | 9
SSC107SM01802 | SP092 | w61 | SALSS001596 | 6
SSC107SM01828 | SP093 | w61 | SALSS001543 | 5
SSC107SM01832 | SP052 | w61 | SALSS002935 | 7
SSC107SM01529 | SP053 | w61 | SALSS002558 | 8
SSC107SM01583 | SP140 | w61 | SALSS003419 | 28
SSC107SM01829 | SP019 | w61 | SALSS003122 | 24
SSC107SM01913 | SP017 | w61 | SALSS003263 | 24
SSC107SM02604 | SP055 | w61 | SALSS003411 | 5
SSC107SM02611 | SP029 | w61 | SALSS003487 | 158
SSC107SM02614 | SP116 | w61 | SALSS003723 | 12
SSC107SM02622 |  | w61 | SALSS004389 | 9
SSC107SM02649 | SP008 | w61 | SALSS004341 | 18
SSC107SM02666 | SP124 | w61 | SALSS004819 | 41
SSC107SM02682 | SP054
SSC107SM02688 | SP128
SSC107SM02693
SSC107SM02696 | SP058
SSC107SM02697 | SP027
SSC107SM02707 | SP138
SSC107SM02714 | SP078
SSC107SM02726 | SP038
SSC107SM02731 | SP018
SSC107SM02740 | SP027
SSC107SM02748 | SP107
SSC107SM02774 | SP144
SSC107SM02780 | SP137
SSC107SM02781 | SP132
SSC107SM02798 | SP115
SSC107SM02806 | SP135
SSC107SM02809
SSC107SM02816 | SP182
SSC107SM02822 | SP133
SSC107SM02975 | SP139
SSC107SM03144 | SP143
SSC107SM03261 | SP142
SSC107SM03297 | SP101
SSC107SM03298 | SP149
SSC107SM03303 | SP146
SSC107SM03308 | SP147
SSC107SM03339
SSC107SM03355 | SP098
SSC107SM03701 | SP085
SSC107SM03848 | SP148
SSC107SM00497 | SP020
SSC107SM00534 | SP021
SSC107SM01616 | SP023
SSC107SM01806 | SP114
SSC107SM01810 | SP117
SSC107SM01844 | SP048
SSC107SM02586 | SP091
SSC107SM02943 | SP088
SSC107SM03273 | SP065
SSC107SM03332 | SP089
SSC107SM03337 | SP090
SSC107SM03340 | SP067
SSC107SM03360 | SP071
SSC107SM03368
SSC107SM04214 | SP040
SSC107SM04427 | SP007
SSC107SM04487 | SP006
SSC107SM04498 | SP005
SSC107SM05292
SSC107SM05299
SSC107SM05315