## Sheet1
Old Detail's | [7 empty] | New Detail's
Sr# | Transformer NUMBER | Transformer Capacity | R R Number | BESCOM Meter Sr# | Meter F R (Final Reading) | BESCOM Meter Image | BESCOM Meter Image Link | Salzer Meter Number | Salzer Meter Reading | CCMS Panel ID | CCMS Image & Salzer METER | CCMS Image & Salzer METER Link | Cable Status | Earthing Status | Latitude | Longitude | Address | 34W | 56W | 78W | 104W | 173W | Old LED | Empty Pole | Park | Remark
1 | 162 |  | 52440 | BD1130093 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/77a23d40-80e6-11f0-818a-afbe52cdbca1.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/77a23d40-80e6-11f0-818a-afbe52cdbca1.jpg | SALSS002676 | 20 | SSC107SM02655 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/89de7590-7aab-11f1-a7a7-07eceecb8946.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/89de7590-7aab-11f1-a7a7-07eceecb8946.jpg | Existing | Y | 13.0088 | 77.6132 | 11,Tannery Rd,Muslim colony,Sagayapura,Richards Town,Bengaluru,Karnataka 560045,India | 0 | 0 | 0 | 0 | 6 | 3 | 0 | 0
2 | - |  | - | BD0090906 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/6cdefd20-7dae-11f0-8f33-696e0d9d46ef.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/6cdefd20-7dae-11f0-8f33-696e0d9d46ef.jpg | SALSS002760 | 6 | SSC107SM02751 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/96ff7ae0-7ab9-11f1-a7a7-07eceecb8946.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/96ff7ae0-7ab9-11f1-a7a7-07eceecb8946.jpg | Existing | Y | 13.0086 | 77.6127 | 253,near Circle,Survey Number 4 Munimarappa Block,Periyar Nagar,Devara Jeevanahalli,Bengaluru,Karnataka 560045,India | 0 | 0 | 4 | 0 | 0 | 3 | 4 | 0
3 | 131 |  | - | BC0211946 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/c211d3b0-7e5a-11f0-9028-0da12d6bafd3.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/c211d3b0-7e5a-11f0-9028-0da12d6bafd3.jpg | SALSS002895 | 7 | SSC107SM02702 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/4b0a3c60-7ab4-11f1-a7a7-07eceecb8946.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/4b0a3c60-7ab4-11f1-a7a7-07eceecb8946.jpg | Existing | Y | 13.0095 | 77.6102 | 10,Devarajivanahalli Rd,opp to d.j. halli police station,Roshan Nagar,Devara Jeevanahalli,Bengaluru,Karnataka 560045,India | 12 | 1 | 5 | 1 | 0 | 8 | 0 | 0
4 | - |  | SLD181 | BD0199924 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/630e2580-7da6-11f0-8f33-696e0d9d46ef.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/630e2580-7da6-11f0-8f33-696e0d9d46ef.jpg | SALSS002532 | 19 | SSC107SM02762 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/39a73e40-7abf-11f1-a7a7-07eceecb8946.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/39a73e40-7abf-11f1-a7a7-07eceecb8946.jpg | Existing | Y | 13.0086 | 77.6129 | 709,AR Colony,Devara Jeevanahalli,Bengaluru,Karnataka 560045,India | 0 | 1 | 0 | 0 | 0 | 13 | 6 | 0
5 | 123 |  | - | BD0275251 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/630e2580-7da6-11f0-8f33-696e0d9d46ef.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/630e2580-7da6-11f0-8f33-696e0d9d46ef.jpg | SALSS003132 | 14 | SSC107SM03138 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/63e7fbd0-7b6f-11f1-992b-5713bb2ff1c0.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/63e7fbd0-7b6f-11f1-992b-5713bb2ff1c0.jpg | Existing | Y | 13.0112 | 77.6075 | 2J64+FXQ,Modi Rd,opposite Gulzar Sweets,Roshan Nagar,Devara Jeevanahalli,Bengaluru,Karnataka 560005,India | 2 | 0 | 5 | 0 | 0 | 8 | 0 | 0
6 | 131 |  | SLD131 | BD0280621 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/76d32230-9d32-11f1-a02a-1778e6887ea5.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/76d32230-9d32-11f1-a02a-1778e6887ea5.jpg | SALSS002537 | 7 | SSC107SM02752 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/cbd30c40-7b8c-11f1-bbb3-8b371156ba5e.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/cbd30c40-7b8c-11f1-bbb3-8b371156ba5e.jpg | Existing | Y | 13.0093 | 77.6102 | 10,Devarajivanahalli Rd,opp to d.j. halli police station,Roshan Nagar,Devara Jeevanahalli,Bengaluru,Karnataka 560045,India | 0 | 8 | 0 | 0 | 0 | 6 | 1 | 0
7 | 134 |  | - | BD0932881 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/f6e833f0-7f1c-11f0-8e1b-d9eb2be8bc3f.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/f6e833f0-7f1c-11f0-8e1b-d9eb2be8bc3f.jpg | SALSS003217 | 15 | SSC107SM03118 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/d7311460-7b64-11f1-992b-5713bb2ff1c0.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/d7311460-7b64-11f1-992b-5713bb2ff1c0.jpg | Existing | Y | 13.0108 | 77.6081 | 186,Roshan Nagar,Devara Jeevanahalli,Bengaluru,Karnataka 560005,India | 8 | 0 | 0 | 0 | 0 | 4 | 0 | 0
8 | 134 |  | 45633 | BD0786384 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/3b575050-7f29-11f0-a531-09e9b784d107.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/3b575050-7f29-11f0-a531-09e9b784d107.jpg | SALSS003273 | 5 | SSC107SM03149 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/69c1d5e0-7b5a-11f1-992b-5713bb2ff1c0.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/69c1d5e0-7b5a-11f1-992b-5713bb2ff1c0.jpg | Existing | Y | 13.0107 | 77.6088 | 354,Roshan Nagar,Devara Jeevanahalli,Bengaluru,Karnataka 560045,India | 1 | 2 | 0 | 0 | 0 | 3 | 0 | 0
9 | 134 |  | 45633 | BD0706304 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/23dc5750-7f41-11f0-9139-df77d1c01ed9.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/23dc5750-7f41-11f0-9139-df77d1c01ed9.jpg | SALSS003169 | 6 | SSC107SM03146 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/8a6f7770-7b5a-11f1-992b-5713bb2ff1c0.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/8a6f7770-7b5a-11f1-992b-5713bb2ff1c0.jpg | Existing | Y | 13.0108 | 77.6089 | 21,6th Main Rd,near Sonappa Garden,Roshan Nagar,Devara Jeevanahalli,Bengaluru,Karnataka 560045,India | 4 | 3 | 0 | 0 | 0 | 6 | 0 | 0
10 | - |  | - | 49683977 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/24f473a0-7db8-11f0-8f33-696e0d9d46ef.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/24f473a0-7db8-11f0-8f33-696e0d9d46ef.jpg | SALSS003476 | 7 | SSC107SM03036 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/0c5ace50-7c33-11f1-b3c4-41a055a2c88f.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/0c5ace50-7c33-11f1-b3c4-41a055a2c88f.jpg | Existing | Y | 13.0077 | 77.6115 | 80,AR Colony,Devara Jeevanahalli,Bengaluru,Karnataka 560005,India | 6 | 9 | 0 | 0 | 0 | 6 | 0 | 0
11 | - |  | - | 442067477 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/914d6880-7db4-11f0-8f33-696e0d9d46ef.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/914d6880-7db4-11f0-8f33-696e0d9d46ef.jpg | SALSS003158 | 9 | SSC107SM03162 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/11a526b0-7c2b-11f1-b4b2-f525ab7c5026.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/11a526b0-7c2b-11f1-b4b2-f525ab7c5026.jpg | Existing | Y | 13.0082 | 77.612 | 232,Devarajivanahalli Rd,AR Colony,Devara Jeevanahalli,Bengaluru,Karnataka 560045,India | 3 | 4 | 0 | 0 | 0 | 4 | 0 | 0
12 | - |  | - | 90224510 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/9553a7e0-7e4b-11f0-bc60-2788085ce80f.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/9553a7e0-7e4b-11f0-bc60-2788085ce80f.jpg | SALSS002891 | 4 | SSC107SM02900 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/272498a0-7c25-11f1-b4b2-f525ab7c5026.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/272498a0-7c25-11f1-b4b2-f525ab7c5026.jpg | Existing | Y | 13.0082 | 77.6121 | 164,AR Colony,Devara Jeevanahalli,Bengaluru,Karnataka 560045,India | 5 | 5 | 0 | 0 | 0 | 12 | 1 | 0
13 | - |  | - | 50222184 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/00d98170-7d9c-11f0-a741-8d1f83d47488.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/00d98170-7d9c-11f0-a741-8d1f83d47488.jpg | SALSS003571 | 8 | SSC107SM03159 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/0fe689f0-7c2f-11f1-b3c4-41a055a2c88f.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/0fe689f0-7c2f-11f1-b3c4-41a055a2c88f.jpg | Existing | Y | 13.0081 | 77.6122 | 921,Thimaiah Garden Rt Nagar,RT Nagar,Bengaluru,Karnataka 560045,India | 4 | 0 | 0 | 0 | 0 | 2 | 1 | 0
14 | - |  | - | 2923928 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/365461e0-87dc-11f0-b9ae-dbf93c7b9c2d.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/365461e0-87dc-11f0-b9ae-dbf93c7b9c2d.jpg | SALSS003098 | 7 | SSC107SM03372 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/321b0bd0-7cee-11f1-8cd4-e174795bd44e.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/321b0bd0-7cee-11f1-8cd4-e174795bd44e.jpg | Existing | Y | 13.0147 | 77.6024 | 50/73,6th Cross Rd,Tengumal Nagar,Devara Jeevanahalli,Bengaluru,Karnataka 560006,India | 11 | 2 | 0 | 0 | 0 | 7 | 0 | 0
15 | 127 |  | 2760 | BC0958002 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/bd52e4a0-7f21-11f0-a240-a186e8fd3ce3.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/bd52e4a0-7f21-11f0-a240-a186e8fd3ce3.jpg | SALSS003106 | 4 | SSC107SM03377 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/5e66dce0-7cf4-11f1-8cd4-e174795bd44e.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/5e66dce0-7cf4-11f1-8cd4-e174795bd44e.jpg | Existing | Y | 13.0134 | 77.6024 | 36,Modi Rd,Roshan Nagar,Devara Jeevanahalli,Bengaluru,Karnataka 560006,India | 9 | 1 | 0 | 0 | 0 | 1 | 0 | 0
16 | 381 |  | SLG56320 | BC1443381 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/9a3880f0-87b5-11f0-b1ec-6d66bb249478.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/9a3880f0-87b5-11f0-b1ec-6d66bb249478.jpg | SALSS001717 | 19 | SSC107SM02197 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/146485e0-80ee-11f1-b697-f364f7aecff0.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/146485e0-80ee-11f1-b697-f364f7aecff0.jpg | Existing | N | 13.0115 | 77.6049 | 2J63+HX,Roshan Nagar,Devara Jeevanahalli,Bengaluru,Karnataka 560005,India | 16 | 0 | 0 | 0 | 0 | 2 | 0 | 0
17 | - |  | CSSLD380A | BD0599761 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/10fb4a60-87c0-11f0-8f81-8d16336787a2.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/10fb4a60-87c0-11f0-8f81-8d16336787a2.jpg | SALSS001711 | 55 | SSC107SM02202 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/0fe13190-80f7-11f1-b21d-636a4d292680.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/0fe13190-80f7-11f1-b21d-636a4d292680.jpg | Existing | N | 13.0114 | 77.6041 | 45,Modi Rd,Survey Number 4 Munimarappa Block,Periyar Nagar,Devara Jeevanahalli,Bengaluru,Karnataka 560005,India | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | - |  | SLCSL91563 | BD0265801 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/b3ebc000-7e84-11f0-abfe-979fed801732.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/b3ebc000-7e84-11f0-abfe-979fed801732.jpg | SALSS001985 | 11 | SSC107SM02338 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/6a949680-80fd-11f1-bedb-213ee5acae98.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/6a949680-80fd-11f1-bedb-213ee5acae98.jpg | Existing | N | 13.0107 | 77.6038 | 141,1st Main Rd,Roshan Nagar,Devara Jeevanahalli,Bengaluru,Karnataka 560006,India | 16 | 0 | 0 | 0 | 0 | 12 | 0 | 0
19 | - |  | - | 5022626 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/7b4fea90-7d86-11f0-8f2e-6ff77dae549f.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/7b4fea90-7d86-11f0-8f2e-6ff77dae549f.jpg | SALSS003310 | 16 | SSC107SM03127 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/84c16a50-803b-11f1-aaeb-e161abed11f5.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/84c16a50-803b-11f1-aaeb-e161abed11f5.jpg | Existing | Y | 13.002 | 77.6118 | 2J26+QMH,Tannery Rd,Wahid Garden,Benson Town,Bengaluru,Karnataka 560046,India | 0 | 0 | 0 | 0 | 0 | 12 | 4 | 0
20 | 129 |  | SLD128 | BD0479823 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/b3ebc000-7e84-11f0-abfe-979fed801732.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/b3ebc000-7e84-11f0-abfe-979fed801732.jpg | SALSS003510 | 8 | SSC107SM03449 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/17af2490-8110-11f1-ba7d-31813401606b.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/17af2490-8110-11f1-ba7d-31813401606b.jpg | Existing | N | 13.0103 | 77.6062 | 1134,Roshan Nagar,Devara Jeevanahalli,Bengaluru,Karnataka 560005,India | 6 | 0 | 3 | 0 | 0 | 2 | 0 | 0
21 | - |  | SLGS41362 | BD0634786 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/3b151730-7f29-11f0-a531-09e9b784d107.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/3b151730-7f29-11f0-a531-09e9b784d107.jpg | SALSS003319 | 3 | SSC107SM03464 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/edec5d40-80e6-11f1-9f06-19b121071a77.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/edec5d40-80e6-11f1-9f06-19b121071a77.jpg | Existing | Y | 13.0112 | 77.6045 | 2J63+JQM,Roshan Nagar,Devara Jeevanahalli,Bengaluru,Karnataka 560005,India | 12 | 0 | 0 | 0 | 0 | 5 | 0 | 0
22 | 122 |  | CSLG39152 | BD0199928 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/d1c29e10-7e88-11f0-afed-151e4ab8b3c3.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/d1c29e10-7e88-11f0-afed-151e4ab8b3c3.jpg | SALSS003564 | 11 | SSC107SM03526 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/8048e0d0-8107-11f1-a351-ed6596d8d372.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/8048e0d0-8107-11f1-a351-ed6596d8d372.jpg | Existing | N | 13.0104 | 77.605 | 183/1,Roshan Nagar,Devara Jeevanahalli,Bengaluru,Karnataka 560005,India | 4 | 0 | 0 | 0 | 0 | 1 | 0 | 0
23 | 54 |  | - | 50224505 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/957f7610-7d8b-11f0-8f2e-6ff77dae549f.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/957f7610-7d8b-11f0-8f2e-6ff77dae549f.jpg | SALSS004138 | 12 | SSC107SM03707 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/59861de0-8040-11f1-aaeb-e161abed11f5.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/59861de0-8040-11f1-aaeb-e161abed11f5.jpg | Existing | Y | 13.0019 | 77.6109 | 309,N C Colony,Wahid Garden,Benson Town,Bengaluru,Karnataka 560046,India | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0
24 | 105 |  | IE6124 | 442003978 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/9c20c9a0-7f49-11f0-9756-9fc2469f3771.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/9c20c9a0-7f49-11f0-9756-9fc2469f3771.jpg | SALSS002822 | 11 | SSC107SM02510 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/3bde0140-8a5e-11f1-bc22-516417622ade.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/3bde0140-8a5e-11f1-bc22-516417622ade.jpg | Existing | Y | 13.0159 | 77.6024 | 70,4th Cross Rd,J.C. Nagar,Modi Garden,Devara Jeevanahalli,Bengaluru,Karnataka 560006,India | 0 | 7 | 0 | 0 | 0 | 13 | 0 | 0
25 | 75 |  | 2761 | BC0767308 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/a1d01ce0-80d7-11f0-818a-afbe52cdbca1.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/a1d01ce0-80d7-11f0-818a-afbe52cdbca1.jpg | SALSS002813 | 3 | SSC107SM02577 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/168dd9b0-8a5e-11f1-93bd-ab41aa147dcd.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/168dd9b0-8a5e-11f1-93bd-ab41aa147dcd.jpg | Existing | Y | 13.0159 | 77.6025 | 89,4th Cross Rd,Modi Garden,Devara Jeevanahalli,Bengaluru,Karnataka 560006,India | 0 | 0 | 11 | 0 | 0 | 0 | 0 | 0
26 | 75 |  | BTSL105 | 10732634 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/c211d3b0-7e5a-11f0-9028-0da12d6bafd3.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/c211d3b0-7e5a-11f0-9028-0da12d6bafd3.jpg | SALSS002709 | 19 | SSC107SM02584 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/87c59d70-8a5e-11f1-8232-f102fba0d963.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/87c59d70-8a5e-11f1-8232-f102fba0d963.jpg | Existing | Y | 13.016 | 77.6022 | 89,Garden Main Rd,Bangargiri Nagar,Modi Garden,Devara Jeevanahalli,Bengaluru,Karnataka 560006,India | 0 | 11 | 9 | 0 | 0 | 0 | 0 | 0
27 | 83 |  | BTSL83 | 37888452 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/37be9180-87e2-11f0-8e4f-b31636e566af.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/37be9180-87e2-11f0-8e4f-b31636e566af.jpg | SALSS003475 | 4 | SSC107SM03037 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/ad7c2d30-8717-11f1-9c6a-299e68cd7044.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/ad7c2d30-8717-11f1-9c6a-299e68cd7044.jpg | Existing | N | 13.0046 | 77.6074 | 5,4th Main Rd,Muddamma Garden,S K Garden,Chinnapa Garden,Benson Town,Bengaluru,Karnataka 560046,India | 8 | 0 | 0 | 0 | 0 | 2 | 0 | 0
28 | 61 |  | BTSL161 | A2366450 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/e9b4a300-7e48-11f0-bc60-2788085ce80f.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/e9b4a300-7e48-11f0-bc60-2788085ce80f.jpg | SALSS003938 | 31 | SSC107SM03737 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/86c31f70-871a-11f1-81cf-1fb9ff003283.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/86c31f70-871a-11f1-81cf-1fb9ff003283.jpg | Existing | Y | 13.0031 | 77.6074 | 17,1st Main Rd,S K Garden,Chinnapa Garden,Benson Town,Bengaluru,Karnataka 560046,India | 20 | 4 | 0 | 0 | 0 | 15 | 0 | 0
29 | - |  | BTSL-12B | 49559812 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/10a402a0-87c0-11f0-8f81-8d16336787a2.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/10a402a0-87c0-11f0-8f81-8d16336787a2.jpg | SALSS004076 | 110 | SSC107SM03774 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/45b72830-87f3-11f1-8fc5-0be57d091767.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/45b72830-87f3-11f1-8fc5-0be57d091767.jpg | Existing | Y | 13.0041 | 77.6048 | 68,6th Cross Rd,S K Garden,Chinnapa Garden,Benson Town,Bengaluru,Karnataka 560046,India | 10 | 7 | 0 | 0 | 0 | 0 | 0 | 0
30 | 35 |  | BTSL35 | 49266828 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/1e8c9880-87e0-11f0-8115-13106721a307.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/1e8c9880-87e0-11f0-8115-13106721a307.jpg | SALSS004055 | 3 | SSC107SM03903 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/6feff5a0-8726-11f1-8e5c-3f22e8929e39.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/6feff5a0-8726-11f1-8e5c-3f22e8929e39.jpg | Existing | Y | 13.0049 | 77.6082 | 1,6th Main Rd,S K Garden,Chinnapa Garden,Benson Town,Bengaluru,Karnataka 560046,India | 7 | 0 | 0 | 0 | 0 | 1 | 0 | 0
31 | 87 |  | BDL2786 | 41986963 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/7f0b6880-87e5-11f0-8e4f-b31636e566af.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/7f0b6880-87e5-11f0-8e4f-b31636e566af.jpg | SALSS003911 | 5 | SSC107SM04014 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/9248ad20-873c-11f1-b502-612d674d96f0.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/9248ad20-873c-11f1-b502-612d674d96f0.jpg | Existing | Y | 13.0044 | 77.6069 | 2J34+QP4,I T I Layout Rd,S K Garden,Chinnapa Garden,Benson Town,Bengaluru,Karnataka 560046,India | 11 | 0 | 0 | 0 | 0 | 1 | 0 | 0
32 | - |  | BTSL53A | - |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/88354c60-87da-11f0-839f-f96ec04e0dd7.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/88354c60-87da-11f0-839f-f96ec04e0dd7.jpg | SALSS004229 | 34 | SSC107SM04025 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/a98c5df0-872e-11f1-a30e-95b45994f76e.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/a98c5df0-872e-11f1-a30e-95b45994f76e.jpg | Existing | Y | 13.0049 | 77.6072 | 34/24,I T I Layout Rd,S K Garden,Chinnapa Garden,Benson Town,Bengaluru,Karnataka 560046,India | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33 | 83 |  | 1EBTSL2789 | 41940451 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/7f0b6880-87e5-11f0-8e4f-b31636e566af.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/7f0b6880-87e5-11f0-8e4f-b31636e566af.jpg | SALSS003929 | 9 | SSC107SM04034 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/700417e0-873c-11f1-b502-612d674d96f0.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/700417e0-873c-11f1-b502-612d674d96f0.jpg | Existing | Y | 13.0044 | 77.6069 | 2J34+QP4,I T I Layout Rd,S K Garden,Chinnapa Garden,Benson Town,Bengaluru,Karnataka 560046,India | 15 | 2 | 0 | 0 | 0 | 3 | 3 | 0
34 | 35 |  | BTSL35B | 41954833 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/365461e0-87dc-11f0-b9ae-dbf93c7b9c2d.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/365461e0-87dc-11f0-b9ae-dbf93c7b9c2d.jpg | SALSS003924 | 6 | SSC107SM04045 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/081b4900-872d-11f1-bc43-579e8fc9574a.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/081b4900-872d-11f1-bc43-579e8fc9574a.jpg | Existing | Y | 13.0053 | 77.6075 | 2J44+4W8,I T I Layout Rd,S K Garden,Chinnapa Garden,Benson Town,Bengaluru,Karnataka 560046,India | 14 | 0 | 0 | 0 | 0 | 7 | 0 | 0
35 | - |  | PSL-78 | 50224268 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/b6d10470-80db-11f0-818a-afbe52cdbca1.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/b6d10470-80db-11f0-818a-afbe52cdbca1.jpg | SALSS004767 | 12 | SSC107SM04164 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/6638ba70-8824-11f1-98cc-bb0b86f0408d.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/6638ba70-8824-11f1-98cc-bb0b86f0408d.jpg | Existing | N | 13.0048 | 77.6118 | 430,Rt Nagar,Bangaragiri Layout,Richards Town,Bengaluru,Karnataka 560006,India | 4 | 0 | 0 | 0 | 0 | 11 | 0 | 0
36 | 118 |  | BTSL118 | 41722237 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/a21a1e30-80d7-11f0-818a-afbe52cdbca1.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/a21a1e30-80d7-11f0-818a-afbe52cdbca1.jpg | SALSS004764 | 5 | SSC107SM04165 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/66757b50-87e2-11f1-86fe-919dd48df754.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/66757b50-87e2-11f1-86fe-919dd48df754.jpg | Existing | Y | 13.004 | 77.6049 | 14,16th cross,17,I T I Layout Rd,S K Garden,Chinnapa Garden,Benson Town,Bengaluru,Karnataka 560046,India | 0 | 13 | 0 | 0 | 0 | 3 | 0 | 0
37 | 103 |  | BTSL103 | 2923199 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/e0b4a6a0-c1f1-11f0-9d01-1d780aedc05a.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/e0b4a6a0-c1f1-11f0-9d01-1d780aedc05a.jpg | SALSS003842 | 29 | SSC107SM04178 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/dab99080-87e9-11f1-b824-13e20ea99eca.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/dab99080-87e9-11f1-b824-13e20ea99eca.jpg | Existing | Y | 13.0032 | 77.6037 | 78/1,7th Main Rd,Krishnappa Garden,Chinnapa Garden,Benson Town,Bengaluru,Karnataka 560046,India | 5 | 0 | 0 | 0 | 0 | 4 | 1 | 0
38 | 62 |  | VPTC-62 | 50223355 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/75a3b130-7d90-11f0-8f2e-6ff77dae549f.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/75a3b130-7d90-11f0-8f2e-6ff77dae549f.jpg | SALSS004784 | 3 | SSC107SM04185 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/61b14540-881e-11f1-99cd-e9e09555bef5.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/61b14540-881e-11f1-99cd-e9e09555bef5.jpg | Existing | N | 13.0031 | 77.6116 | 355,Masjid St,Wahid Garden,Benson Town,Bengaluru,Karnataka 560046,India | 1 | 0 | 0 | 0 | 0 | 17 | 0 | 0
39 | 12 |  | BTSL12A | A2366349 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/f89ca820-87d7-11f0-a8ad-5d00124eb31d.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/f89ca820-87d7-11f0-a8ad-5d00124eb31d.jpg | SALSS004465 | 7 | SSC107SM04187 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/0bd9f970-8803-11f1-ae8d-4798a152a72d.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/0bd9f970-8803-11f1-ae8d-4798a152a72d.jpg | Existing | N | 13.0041 | 77.6053 | 20,I T I Layout Rd,S K Garden,Chinnapa Garden,Benson Town,Bengaluru,Karnataka 560046,India | 3 | 0 | 0 | 0 | 0 | 1 | 0 | 0
40 | - |  | SLD129 | BD0224858 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/372a4f80-87dc-11f0-b9ae-dbf93c7b9c2d.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/372a4f80-87dc-11f0-b9ae-dbf93c7b9c2d.jpg | SALSS004598 | 6 | SSC107SM04188 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/b6ac0380-8988-11f1-83d5-89be86fb9ec3.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/b6ac0380-8988-11f1-83d5-89be86fb9ec3.jpg | Existing | N | 13.0104 | 77.6068 | 1128,Roshan Nagar,Devara Jeevanahalli,Bengaluru,Karnataka 560005,India | 11 | 0 | 3 | 0 | 0 | 10 | 1 | 0
41 | 12 |  | BTSL12 | 37888444 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/9a3880f0-87b5-11f0-b1ec-6d66bb249478.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/9a3880f0-87b5-11f0-b1ec-6d66bb249478.jpg | SALSS003894 | 7 | SSC107SM04191 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/9448b640-8815-11f1-9d1e-99746c45a017.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/9448b640-8815-11f1-9d1e-99746c45a017.jpg | Existing | Y | 13.0045 | 77.6039 | 1st Floor,116,I T I Layout Rd,ITI Colony,Chinnapa Garden,Benson Town,Bengaluru,Karnataka 560046,India | 0 | 14 | 0 | 0 | 0 | 14 | 0 | 0
42 | - |  | 130 | BD0201181 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/e1025170-c1f1-11f0-9d01-1d780aedc05a.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/e1025170-c1f1-11f0-9d01-1d780aedc05a.jpg | SALSS003811 | 4 | SSC107SM04221 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/de5c8a40-897d-11f1-8743-e94f70accfb5.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/de5c8a40-897d-11f1-8743-e94f70accfb5.jpg | Existing | Y | 13.0097 | 77.6088 | 2J55+WF3,Roshan Nagar,Devara Jeevanahalli,Bengaluru,Karnataka 560005,India | 14 | 0 | 8 | 0 | 0 | 4 | 2 | 0
43 | 12 |  | BTSL29 | BD013571 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/38700730-87e2-11f0-8e4f-b31636e566af.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/38700730-87e2-11f0-8e4f-b31636e566af.jpg | SALSS004574 | 10 | SSC107SM04290 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/8c554140-87f9-11f1-967b-0d6545f29c0b.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/8c554140-87f9-11f1-967b-0d6545f29c0b.jpg | Existing | N | 13.0049 | 77.6051 | 7th,I T I Layout Rd,ITI Colony,Chinnapa Garden,Benson Town,Bengaluru,Karnataka 560046,India | 14 | 4 | 0 | 0 | 0 | 2 | 0 | 0
44 | 122 |  | - | 39061400 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/f89ca820-87d7-11f0-a8ad-5d00124eb31d.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/f89ca820-87d7-11f0-a8ad-5d00124eb31d.jpg | SALSS003215 | 9 | SSC107SM03169 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/eef8bc70-8cd4-11f1-8eea-7f0d9ccb0546.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/eef8bc70-8cd4-11f1-8eea-7f0d9ccb0546.jpg | Existing | Y | 13.0119 | 77.6068 | 2J64+QQ5,2nd Cross Rd,Indira Puram,Devara Jeevanahalli,Bengaluru,Karnataka 560005,India | 7 | 1 | 0 | 0 | 0 | 0 | 0 | 0
45 | - |  | SE0525 | 442080903 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/6fbc4850-87c6-11f0-8f83-f53f9ee8b318.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/6fbc4850-87c6-11f0-8f83-f53f9ee8b318.jpg | SALSS003895 | 23 | SSC107SM04175 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/dad394d0-9234-11f1-b576-f5278ffdcd13.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/dad394d0-9234-11f1-b576-f5278ffdcd13.jpg | Existing | Y | 13.0027 | 77.6089 | 2J35+2H6,Pottery Ln,Chinnapa Garden,Benson Town,Bengaluru,Karnataka 560046,India | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0
46 | 182 |  | - | BC1061970 |  | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/e9b4a300-7e48-11f0-bc60-2788085ce80f.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/e9b4a300-7e48-11f0-bc60-2788085ce80f.jpg | SALSS005153 | 19 | SSC107SM05665 | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/17a91aa0-9939-11f1-8f00-773bedf71d0e.jpg | https://schnell-s3-image.s3.ap-south-1.amazonaws.com/luminator/17a91aa0-9939-11f1-8f00-773bedf71d0e.jpg | Existing | Y | 13.0088 | 77.613 | 603,Shampura Main Rd,Survey Number 4 Munimarappa Block,Periyar Nagar,Devara Jeevanahalli,Bengaluru,Karnataka 560045,India | 9 | 10 | 0 | 0 | 0 | 0 | 1 | 0
47 | [9 empty] | SSC107SM05370 |  |  |  |  | 13.0057 | 77.6057 | 19/4,4th Main Rd,ITI Colony,Chinnapa Garden,Devara Jeevanahalli,Bengaluru,Karnataka 560046,India
48 | [9 empty] | SSC107SM05427 |  |  |  |  | 13.0044 | 77.6081 | 84-8,84-8,1st Main Rd,Wahid Garden,Jayamahal,Bengaluru,Karnataka 560046,India
49 | [9 empty] | SSC107SM05968 |  |  |  |  | 13.0032 | 77.6112 | 38,Wahid Garden,Benson Town,Bengaluru,Karnataka 560046,India